ORDINANCE NO. 51

BE IT ENTITLED: AN ORDINANCE TO PROVIDE FOR PLUMBING INSPECTIONS FOR ALL PLUMBING WHEREVER WATER ORIGINATING FROM THE CHERRY VALLEY WATER SYSTEMS: PROVIDING FOR PLUMBING INSPECTOR: FIXING QUALIFICATIONS OF PLUMBING INSPECTOR OR PLUMBING INSPECTORS: PROVIDING FOR ADOPTION OF THE ARKANASAS STATE PLUMBING CODE: FIXING OF WATER SERVICE: REPEALING ORDINANCES OR PARTS OF ORDINANCES IN CONFLICT HEREWITH: DECLARING AN EMERGENCY AND FOR OTHER RELATED PURPOSES.

Whereas, the City of Cherry Valley, Arkansas, owns and operates in a governmental capacity, a Water System as a Municipal Utility; such system having plants, pumps, and transmission lines within the and without the corporate limits if the City of Cherry Valley, Arkansas, and;

Whereas, certain municipalities, private, companies, governmental Agencies, firms and individuals not within the corporate limits of the City of Cherry Valley, Arkansas, are purchasers of water from the said Water System, and;

Whereas, the City of Cherry Valley, Arkansas, is very desirous maintaining a pure Water Supply.

BE IT THEREFORE ORDAINED BT THE CITY COUNCIL OF THE CITY OF CHERRY VALLEY, ARKANSAS THAT:

SECTION 1:

DEFINITIONS

Plumbing for the purposes of this ordinance is hereby defined as the definitions of Arkansas Act 200 of 195 as amended by Act 372 of 1957 and Act 555 of 1963 and the Arkansas State Plumbing code.

SECTION 2:

STATE CODES

The provisions and regulations of the Arkansas State Plumbing Code, and amendments thereto, adopted by the State Board of Health of Arkansas are made a part of this ordinance by reference, three certified copies of which shall be on file in the office of the City Clerk, and shall extend over and govern the installation of all plumbing installed, alteredor, repealed within or without the City of Cherry Valley, Municipally Water and /or Sewer System is furnished.

## ORDINANCE NO. 51

-2-

SECTION 3:

INSPECTION AND SUPERVISION

(a) There is hereby created the position of plumbing inspector or inspectors who shall be employed by the City of Cherry Valley, Arkansas.

(b) The plumbing inspector or inspectors shall have experience in plumbing to the extent that enables him to know when plumbing is installed correctly.

(©) The plumbing inspector or inspectors shall not be directly connected in any way with any person, firm, corporation, directly or indirectly engaged in the business of plumbing, or plumbing supplies.

(d) The inspector who shall receive as full compensation for his services, a salary designated by the City of Cherry Valley, Arkansas.

(e) It shall be the duty if the plumbing inspector or inspectors to enforce all provisions of this Ordinance, and such inspector or inspectors is hereby granted the authority to enter all buildings within or without the corporate limits of the City of Cherry Valley, Arkansas. When such buildings are connected, or to be connected, to the Municipal Water and/or Sewage System.

(f) The plumbing inspector shall prepare or cause to be prepared suitable forms for applications, permits, inspection reports, and other such materials.

(g) It shall be the duty of the plumbing inspector to inspect and test all plumbing work fro compliance with this Ordinance and its adopted plumbing code, and to enforce changing of such installations that does not meet the requirements.  It further shall be his duty to see that all persons installing, or altering plumbing shall be qualified by State Law.

## ORDINANCE NO. 51

-3-

SECTION 4:

APPLICATIONS, PERMITS

(a) Before beginning any work in the City of Cherry Valley the plumbing inspector installing or altering same, shall apply to the plumbing inspector or other designated official and obtain a permit to do such work.  Only those persons legally authorized to do plumbing may be issued permits.  A permit may be issued to a home owner to install or alter plumbing in a single family residence, providing the home owner and occupied by the owner as his home.  All such work shall meet the code requirements.

(b) All applications for permits shall be made on suitable forms provided.  The application shall be accompanied by fees in accordance with the following schedule:

Plumbing Rough-in Inspections…………..$10.00

Each Plumbing Fixture and / or Water…...$10.00

And/or waste discharge devices………..…..$10.00

New or reconstructed Sewer Connection….$10.00

Each Septic Tank System…………………..$10.00

Hot Water Heater, New or Replaced………$10.00

Water Service or Connection	………………$10.00

For Final Certificate of Inspector…………$10.00

An additional fee of $10.00 shall be charged for each additional trip on the part of the plumbing inspector, caused by the negligence of the plumber of not being ready for inspection or a return for inspection of a corrected installation.

SECTION 5:

BOND

Every master plumber doing business in the City of Cherry Valley, Arkansas, shall execute and deliver to the city a bond with a surety bonding company in the sum of $1,000 to indemnify the city or any citizen for any damage caused by the failure of such master plumber to comply strictly with the provisions of this ordinance. No plumbing permit shall be issued to any master plumber unless this bond has been delivered to the city and is in full force and effect.

### ORDINANCE NO. 51

-4-

SECTION 6:

STREET OPENINGS

(a) All openings made in the public streets or alleys to install plumbing must be made as carefully as possible and all materials excavated from the trenches shall be removed or placed where the least inconvenience to the public will be caused.

(b) All openings must be replaced in precisely the same condition as before the excavation started and all rubbish and materials must be removed at once, leaving the street or sidewalk clean and in perfect repair.

(©) All openings shall be marked with sufficient barriers. Flares or red lamps shall be maintained around the opening at night and all other precautions shall be taken by the person or property.

SECTION 7:

CROSS CONNECTIONS-BACK FLOW

(a) The City Water Department of the City of Cherry Valley, Arkansas, be and they are hereby authorized to discontinue or cause to be discontinued all water services to any premises, lands, buildings, or structures where it is found that an immediate hazard exists to the purity or portability of the city water supply, by reason of the requirements of the Arkansas State Plumbing Code and the City Plumbing Code and the regulations of the Arkansas State Board of Health having not been complied with.

(b) The City Water Department of the City of Cherry Valley, Arkansas, and the City Plumbing Inspector of the City of Cherry Valley, Arkansas, be and they are hereby authorized and directed to take such steps as necessary to determine all potential hazards to the purity or portability of the City Water Supply which exist. Upon determining and said hazards it shall be the duty of said department and said inspector to immediately cause notice to go to the owner or such other person responsible for said premises, specifying said hazards, and notifying said person that in the event that said hazard is not corrected within thirty (30) days form the date of said notice, all water services shall be disconnected thereafter until the requirements of the Arkansas State Plumbing Code, and the regulations of the Arkansas State Board of Health have been complied with.

## ORDINANCE NO. 51

-5-

SECTION 8:

PENALTIES

Any person, firm, or corporation found guilty of violating any of the provisions of this ordinance shall be subject to a fine of not less than ten ($10.00) dollars nor more than one hundred ($100.00) dollars, together with the cost of such prosecution.  Each day during which violation continues shall be a separate offense.

SECTION 9:

CONFLICTING ORDINANCES REPEALED

(a) All ordinances or parts of ordinances conflicting with any of the provisions of this ordinance are hereby repealed.

(b) This ordinance being for the regulation of plumbing and for the protection of the public their provisions hereof are declared to be separable, and the invalidity of any clause, sentence, paragraph, or section hereof shall not affect the validity of the remainder of this ordinance.

(©) This ordinance shall be in full force and effect from and after its passage and publication as required in the Arkansas Statutes.

# DATE PASSED 9-19-67