ORDINANCE NO. 54

AN ORDINANCE ADOPTING A FIRE PREVENTION CODE PRESCRIBING REGULATIONS GOVERNING CONDITIONS HAZARDOUS TO LIFE AND PROPERTY FROM FIRE OR EXPLOSION

BE IT ORDAINED BY THE CITY COUNCIL OF THE CITY OF CHERRY VALLEY, ARKANSAS

SECTION 1:

ADOPTION OF A FIRE PREVENTION CODE

There is hereby adopted by the governing body of Municipality, for the purpose of prescribing regulations governing conditions hazardous to life and property from fire or explosion, that certain code known as the Fire Prevention Code, Abbreviation Edition, as recommend by the National Board of Fire Underwriters, being particular 1965 Abbreviated edition thereof, and the whole thereof, save and except such portions as are hereinafter deleted or amended.  Not less than three (3) copies of this code have been and are now on file in the office of the Clerk of the Municipality for public record and examination, and the same are hereby adopted and incorporated as fully as if set forth at length within the body of this ordinance, and from the date in which this ordinance shall take effect, the provisions thereof shall be controlling within the corporate limits of the Municipality.

SECTION 2:

ENFORCEMENT

The code hereby adopted shall be enforced by the Chief of the Fire Department of the Municipality.

SECTION 3:

DEFINITION

Wherever the word “Municipality” is used in the code hereby adopted or within the body of this ordinance, it shall be held to mean the City of Cherry Valley, Arkansas.

# ORDINANCE NO. 54

-2-

SECTION 4:

ESTABLISHMENT OF DISTRICTS IN WHICH STORAGE OF FLAMMABLE LIQUIDS IN OUTSIDE ABOVE GROUND TANKS, BULK STORAGE OF LIQUIDITY PETROLEUM GASES AND STORAGE OF EXPLOSIVES AND BLASTING AENTS IS TO BE RESTRICTED.

The limits referred to is section 73 of the code hereby adopted in which storage of flammable liquids in outside above ground tanks is prohibited, the limits referred to in section 103 of the code hereby adopted, in which bulk storage of liquefied petroleum gas in restricted, and the limits referred to in section 53b of the code hereby adopted, in which storage of explosives and blasting agents is prohibited, are hereby established as follows:

(a) The area designated in the “Official Zoning Map” of the Municipality as the Central Business District.

(b) Within 1500 feet of any dwelling structure in any built up area within the corporate limits of the Municipality;

with the exception of outside above ground tanks for the storage of flammable liquids or for the bulk storage of liquefied petroleum gases having been located in such designated areas prior to the adopting date of this ordinance; provided, however, that the Fire Chief shall inspect such facilities and issue a letter of “Modification” as hereinafter set forth in Section 5 of this Ordinance.

SECTION 5:

MODIFICATIONS

The Chief of the Fire Department shall have power to modify any of the provisions of the code hereby adopted upon application in writing by the owner or lessee, or his dually authorized agent, when there are practical difficulties in the way of carrying out the strict letter of the code.  Provided that the spirit of the code shall be observed, public safety secured, and substantial justice done. The particulars of such modification when grated or allowed and the decision of the Chief of the Fire Department there on shall be entered upon the records of the department and a signed copy shall be furnished the applicant.

# ORDINANCE NO. 54

-3-

SECTION 6:

APPEALS

Whenever the Chief of the Fire Department shall disapprove and application or refuse to grant a permit applied for, or when it is claimed that the provisions of the code do not apply or that the true intent and meaning of the code have been misconstrued or wrongly interpreted, the applicant may appeal from the decision of the Chief of the Fire Department to the governing body of the Municipality within 30 days form the date of the decision appealed.

SECTION 7:

PENALTIES

Any person who shall violate any of the provisions of the code hereby adopted or fail to comply therewith, or who shall violate or fail to comply with any order made thereunder, or who shall build a violation of any detailed statement of specifications or plans submitted and approved thereunder, or any certificate or permit issued thereunder, and form which no appeal has been taken, or who shall fail to comply with such an order as affirmed or modified by the governing body of the Municipality or by the court of competent jurisdiction, within time fixed herein, shall severally for each and every such violation and noncompliance respectively, be guilty of a misdemeanor, punishable by a fine not less than $10.00 nor more than $100.00 or by imprisonment for not less than 3 days nor more than 30 days or by both such fine and imprisonment.  The imposition  of one penalty for any violation shall not excuse the violation or permit it to continue; and all such persons shall be required to correct or remedy such violations or defects within a reasonable time: and when not otherwise specified, each ten days that prohibited conditions are maintained shall continue a separate offense.

The application of the above penalty shall not be held to prevent the enforced removal of prohibited conditions.

SECTION 8:

REPEAL OF CONFLICTING ORDINANCES

All former ordinances or parts thereof conflicting or inconsistent with the provisions of this ordinance are hereby repealed.

# ORDINANCE NO. 54

-4-

SECTION 9:

VALIDITY

The governing body of the Municipality hereby declared that should any section, paragraph, sentence, or word of this ordinance or of the code hereby adopted declared for any reason to be invalid, it is the intent of the governing body of the Municipality that is would have passed all other portions of this ordinance independent of the elimination here from of any such portion as any be declared invalid.

SECTION 10:

DATE OF EFFECT

This ordinance shall take effect 60 days after its approval.

Date Passed:  9-19-67